.VERSION 1.0

.COMMENT ###############################################

####DOCUMENTATION FILE FOR ISOLATED DATABASE###

###############################################

.DATA_SOURCE    Synaptics

.DATA_ID        syn1

.COMMENT Use the .ALPHABET specified

.ALPHABET       "0" "1" "2" "3" "4" "5" "6" "7" "8" "9"

"A" "B" "C" "D" "E" "F" "G" "H" "I" "J" "K" "L" "M"

"N" "O" "P" "Q" "R" "S" "T" "U" "V" "W" "X" "Y" "Z"

"a" "b" "c" "d" "e" "f" "g" "h" "i" "j" "k" "l" "m"

"n" "o" "p" "q" "r" "s" "t" "u" "v" "w" "x" "y" "z"

"~" "!" "@" "#" "$" "%" "^" "&" "*" "(" ")" "-" "+"

"=" "|" "" "/" "{" "}" "?" "[" "]" "\"" ":" "<" ">"

"," "." ";"  "'" "_" " "

.ALPHABET_FREQ  1 1 1 1 1 1 1 1 1 1

0 0 0 0 0 0 0 0 0 0 0 0 0

0 0 0 0 0 0 0 0 0 0 0 0 0

0 0 0 0 0 0 0 0 0 0 0 0 0

0 0 0 0 0 0 0 0 0 0 0 0 0

0 0 0 0 0 0 0 0 0 0 0 0 0

0 0 0 0 0 0 0 0 0 0 0 0 0

0 0 0 0 0 0 0

.STYLE     PRINTED

.HIERARCHY     CHARACTER

.COMMENT #####################

### DOCUMENTATION ###

#####################

.DATA_CONTACT

Name: Nada Matic

Affiliation: Synaptics, Inc.

Address: 2698 Orchard Parkway, San Jose,CA, 95134

Phone:(408) 434 0110 ext. 126

Fax: (408) 434 9819

Email: nada@synaptics.com

.SETUP   Site: Synaptics Inc.

Time:  August 1992

Writer population: male (few female) and left/right handed

Writer motivation: volunteer

Writer physical position: sitting  at the desk

Instructions given to the writer: yes

Duration of one session: 5-15 min.

Recognizer feedback: no

Form layout: yes

.DATA_INFO

Set type: training or test

Alphabet: numerics

Lexicon: no

Label distribution: Truth labels cover numeric with balanced character frequencies

Quantity: 22,000 characters

Quality: Cleaning applied. Two pass cleaning.

Number of Writer(s): 22

Writing Style: PRINTED

Segmentation: segmented

.PAD     Machine name: WACOM  SD-421E

Brand: Wacom

Type: SD-421E

Serial Nr.: 2F1JB0244

Sensor: Electromagnetic, wireless pen

Pen: Untethered Pen, tip switch and side button

Tip switch used for PenUp/PenDown determination.

Driver: Custom made routine under UNIX

Sampling mode: Equidistant in time, during PenDown                                            (countiniuous sampling)

Sampling rate: 200Hz

Resolution: 0.02 [mm/unit]

Accuracy: 0.01 mm ?

Width: 305 mm

Height: 305 mm

Display: SUN workstation 19" color screen

Inking: Black on white; 1 pixel thick

.COMMENT #####################

###  DATA LAYOUT  ###

#####################

.X_DIM   15250

.Y_DIM   15250

.H_LINE  4000 6000 8000 10000 12000

.COMMENT #####################

###  UNIT SYSTEM  ###

#####################

.X_POINTS_PER_MM 50

.Y_POINTS_PER_MM 50

.POINTS_PER_SECOND 200

.COORD             X Y